## Executive Overview
BHARATI RESEARCH STATION — TECHNICAL & NUMERICAL DATA REPOSITORY
Repository scope | Primary-source first; Bharati-only attribution; historical values retained with year; no inference
Hard Bharati figures surfaced | Value | High-value gaps / not publicly located
Main-building capacity | 47 persons | Annual/daily fuel consumption
Additional summer/emergency capacity | 25 persons | Freshwater/wastewater tank capacities
Stated total capacity | 72 persons | Peak/average power load, kW, voltage, Hz
Main building | 30 m × 50 m; 2162 m² | Satellite bandwidth/data rate and antenna specs
CHP | 3 units; 100 kVA each; MAN | Full IT/server/network inventory
Fuel farm | ~300 kL / ~300000 L stated; 13 tanks ~24 kL each also stated | CCTV resolution/NVR storage
Building automation | ~230 smoke detectors; 15 cameras; ~180 field devices; ~1000 data points | Designation-wise staffing counts
Master sheets: Numerical ¦ Equipment ¦ Capacity ¦ Sensors ¦ Personnel ¦ Datasets ¦ Resources ¦ Unavailable ¦ Conflicts
Important evidence rule | A tender/procurement requirement is not automatically treated as installed/allocated Bharati equipment. Shared Maitri/Bharati procurement is kept separate.
Coverage note | This repository captures the publicly accessible Bharati-specific numerical/technical evidence located in this research pass. It is not a claim that unpublished operational data does not exist.
Primary-source emphasis | Official NCPOR/MoES/IIG/procurement records are prioritized; secondary scientific/news sources are explicitly labelled.
Security/data-minimization note | Only public aggregate equipment and infrastructure data are recorded; no sensitive operational access credentials or security bypass details are included.

## Master Numerical
Master Numerical
Evidence-first repository. No inferred/estimated Bharati values; missing items are explicitly marked.
# | Parameter | Value | Unit | Category | Year/Date | Source | URL | Source Type | Confidence
N-001 | Station geographic position | 69°24.41′ S; 76°11.72′ E | coordinates | Site | current/official | NCPOR NPDC Research Stations | https://npdc.ncpor.res.in/npdc/research-stations.action | Official government | High
N-002 | Station elevation | ~35 | m above sea level | Site | current/official | NCPOR NPDC Research Stations | https://npdc.ncpor.res.in/npdc/research-stations.action | Official government | High
N-003 | Commissioned | 18 Mar 2012 | date | Station | 2012 | NCPOR NPDC Research Stations | https://npdc.ncpor.res.in/npdc/research-stations.action | Official government | High
N-004 | Main-building personnel capacity | 47 | persons | Personnel/Accommodation | current/official | NCPOR NPDC Research Stations | https://npdc.ncpor.res.in/npdc/research-stations.action | Official government | High
N-005 | Additional summer emergency/shelter capacity | 25 | persons | Personnel/Accommodation | current/official | NCPOR NPDC Research Stations | https://npdc.ncpor.res.in/npdc/research-stations.action | Official government | High
N-006 | Total stated station capacity | 72 | persons | Personnel/Accommodation | current/official | NCPOR NPDC Research Stations | https://npdc.ncpor.res.in/npdc/research-stations.action | Official government | High
N-007 | Single-occupancy rooms mentioned by MoES | 24 | rooms | Accommodation | 2026 post | Ministry of Earth Sciences LinkedIn post/transcript | https://www.linkedin.com/posts/ministry-earth-sciences_onemonthoneresearchstation-activity-7435650544368750594-naA- | Government social media | Medium-High
N-008 | Construction duration | 127 | days | Building | 2012 | NCPOR Significant Achievements | https://ncpor.res.in/pages/display/369-significant-achievements- | Official government | High
N-009 | Main building length | 30 | m | Building | 2012 | NCPOR Significant Achievements | https://ncpor.res.in/pages/display/369-significant-achievements- | Official government | High
N-010 | Main building width | 50 | m | Building | 2012 | NCPOR Significant Achievements | https://ncpor.res.in/pages/display/369-significant-achievements- | Official government | High
N-011 | Main building floor area | 2162 | m² | Building | 2012 | NCPOR Significant Achievements | https://ncpor.res.in/pages/display/369-significant-achievements- | Official government | High
N-012 | Utilities area allocation | 43 | % of floor area | Building | 2012 | NCPOR Significant Achievements | https://ncpor.res.in/pages/display/369-significant-achievements- | Official government | High
N-013 | Circulation area allocation | 23 | % of floor area | Building | 2012 | NCPOR Significant Achievements | https://ncpor.res.in/pages/display/369-significant-achievements- | Official government | High
N-014 | Living area allocation | 15 | % of floor area | Building | 2012 | NCPOR Significant Achievements | https://ncpor.res.in/pages/display/369-significant-achievements- | Official government | High
N-015 | Laboratory area allocation | 12 | % of floor area | Building | 2012 | NCPOR Significant Achievements | https://ncpor.res.in/pages/display/369-significant-achievements- | Official government | High
N-016 | Storage area allocation | 7 | % of floor area | Building | 2012 | NCPOR Significant Achievements | https://ncpor.res.in/pages/display/369-significant-achievements- | Official government | High
N-017 | CHP units | 3 | units | Power/CHP | current per NCPOR source | NCPOR Significant Achievements / OMRC | https://ncpor.res.in/upload/tenders/OMRC_Tender_Document_20220113%20%281%29.PDF | Official government/tender | High
N-018 | CHP rating per unit | 100 | kVA | Power/CHP | current per NCPOR source | NCPOR Significant Achievements | https://ncpor.res.in/pages/display/369-significant-achievements- | Official government | High
N-019 | CHP make | MAN | make | Power/CHP | 2022 OMRC | NCPOR OMRC tender | https://ncpor.res.in/upload/tenders/OMRC_Tender_Document_20220113%20%281%29.PDF | Tender | High
N-020 | CHP operating hours per generator | ~6000 | hours/year | Power/CHP | 2022 OMRC | NCPOR OMRC tender | https://ncpor.res.in/upload/tenders/OMRC_Tender_Document_20220113%20%281%29.PDF | Tender | High
N-021 | CHP major maintenance point | 10000 | running hours | Maintenance/CHP | 2022 OMRC | NCPOR OMRC tender | https://ncpor.res.in/upload/tenders/OMRC_Tender_Document_20220113%20%281%29.PDF | Tender | High
N-022 | CHP major maintenance point | 20000 | running hours | Maintenance/CHP | 2022 OMRC | NCPOR OMRC tender | https://ncpor.res.in/upload/tenders/OMRC_Tender_Document_20220113%20%281%29.PDF | Tender | High
N-023 | CHP major maintenance point | 40000 | running hours | Maintenance/CHP | 2022 OMRC | NCPOR OMRC tender | https://ncpor.res.in/upload/tenders/OMRC_Tender_Document_20220113%20%281%29.PDF | Tender | High
N-024 | Existing CHPs completely overhauled | 3 | units | Maintenance/CHP | Jan–Feb 2020 | NCPOR OMRC tender | https://ncpor.res.in/upload/tenders/OMRC_Tender_Document_20220113%20%281%29.PDF | Tender | High
N-025 | Fuel farm stated storage | ~300000 | L | Fuel | current per NCPOR | NCPOR Significant Achievements | https://ncpor.res.in/pages/display/369-significant-achievements- | Official government | High
N-026 | Fuel farm stated storage | ~300 | kL | Fuel | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-027 | Fuel tanks | 13 | tanks | Fuel | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-028 | Declared fuel tank capacity per tank | ~24 | kL/tank | Fuel | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-029 | Outdoor fuel pipeline | 400 | m | Fuel | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-030 | Smoke detectors | ~230 | detectors | Fire/Safety | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-031 | Fire alarm cable | 2500 | m | Fire/Safety | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-032 | Security cameras | 15 | cameras | CCTV/Security | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-033 | Loudspeakers | 100 | speakers | PA/Communication | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-034 | Data cable | 2300 | m | IT/Network | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-035 | Network sockets | 300 | sockets | IT/Network | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-036 | Heavy-current power cable | 13000 | m | Power/Building automation | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-037 | Weak-current measuring/control cable | 26000 | m | Building automation | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-038 | Building automation data points | ~1000 | data points | Building Automation | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-039 | Switchgear cabinets | 14 | cabinets | Power | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-040 | Fuses | ~300 | fuses | Power | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-041 | Building management workstations inside Bharati | 2 | workstations | IT/Building automation | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-042 | Remote building-management workstation in Goa | 1 | workstation | IT/Building automation | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-043 | Field devices (sensors/actuators) | ~180 | devices | Sensors/Automation | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-044 | Fire fighting system | 1 | system | Fire/Safety | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-045 | Fire-system locations stated | 3 | CHP rooms / kitchen / fuel tank room | Fire/Safety | procurement clarification | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Tender/clarification | High
N-046 | IP-EPABX Bharati control unit | 1 | unit | Communication | tender specification | NCAOR Revised IP-EPABX Tender | https://www.ncpor.res.in/files/Revised-IP-EPABX-tender_1.pdf | Tender | Medium-High
N-047 | Analog users/lines for Bharati control unit | 24 | users/lines | Communication | tender specification | NCAOR Revised IP-EPABX Tender | https://www.ncpor.res.in/files/Revised-IP-EPABX-tender_1.pdf | Tender | Medium-High
N-048 | IP user licenses | 10 | licenses | Communication | tender specification | NCAOR Revised IP-EPABX Tender | https://www.ncpor.res.in/files/Revised-IP-EPABX-tender_1.pdf | Tender | Medium-High
N-049 | IP-EPABX support | 2 | years | Communication/Maintenance | tender specification | NCAOR Revised IP-EPABX Tender | https://www.ncpor.res.in/files/Revised-IP-EPABX-tender_1.pdf | Tender | Medium-High
N-050 | Medical centre rooms (historical) | 2 | rooms | Medical | 2012–13 inspection | U.S. State Dept Antarctica medical inspection | https://2009-2017.state.gov/documents/organization/210000.pdf | Government secondary | Medium-High
N-051 | Inpatient beds (historical) | 2 | beds | Medical | 2012–13 inspection | U.S. State Dept Antarctica medical inspection | https://2009-2017.state.gov/documents/organization/210000.pdf | Government secondary | Medium-High
N-052 | Water RO units | 2 | units | Water | research paper | Bharati RO/water research paper | https://www.researchgate.net/ / exact paper URL in source inventory | Scientific paper | High
N-053 | RO production per unit | 300 | L/h | Water | research paper | Bharati RO/water research paper | https://www.researchgate.net/ / exact paper URL in source inventory | Scientific paper | High
N-054 | RO plant manufacturer | A3 Water Solution GmbH | manufacturer | Water | research paper | Bharati RO/water research paper | https://www.researchgate.net/ / exact paper URL in source inventory | Scientific paper | High
N-055 | RO plant model | Rotec M 300 SW DP | model | Water | research paper | Bharati RO/water research paper | https://www.researchgate.net/ / exact paper URL in source inventory | Scientific paper | High
N-056 | Greywater monitoring period | 2015–2022 | years | Water/Environment | research study | Bharati wastewater performance study | https://www.sciencedirect.com/ | Scientific paper | High
N-057 | Greywater monitoring frequency | 2 | times/fortnight | Water/Environment | research study | Bharati wastewater performance study | https://www.sciencedirect.com/ | Scientific paper | High
N-058 | pH reported range | 6.5–9.1 | pH units | Water/Environment | 2015–2022 | Bharati wastewater performance study | https://www.sciencedirect.com/ | Scientific paper | High
N-059 | HACH COD high-range method range | 20–1500 | mg/L | Water/Environment | research study | Bharati wastewater performance study | https://www.sciencedirect.com/ | Scientific paper | High
N-060 | HACH COD low-range method range | 3–150 | mg/L | Water/Environment | research study | Bharati wastewater performance study | https://www.sciencedirect.com/ | Scientific paper | High
N-061 | COD digestion temperature | 150 | °C | Water/Environment | research study | Bharati wastewater performance study | https://www.sciencedirect.com/ | Scientific paper | High
N-062 | Milli-Q resistivity | 18.0 | MΩ·cm at 25°C | Water/Environment | research study | Bharati wastewater performance study | https://www.sciencedirect.com/ | Scientific paper | High
N-063 | Ozone analyser model | O342 | model | Atmospheric science | 2015–2017 | Atmospheric Chemistry & Physics | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | Scientific paper | High
N-064 | Ozone analyser manufacturer | Environnement S.A. France | manufacturer | Atmospheric science | 2015–2017 | Atmospheric Chemistry & Physics | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | Scientific paper | High
N-065 | Ozone absorption wavelength | 253.7 | nm | Atmospheric science | 2015–2017 | Atmospheric Chemistry & Physics | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | Scientific paper | High
N-066 | Ozone noise | 0.5 | nmol/mol | Atmospheric science | 2015–2017 | Atmospheric Chemistry & Physics | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | Scientific paper | High
N-067 | Ozone lower detection limit | 1 | nmol/mol | Atmospheric science | 2015–2017 | Atmospheric Chemistry & Physics | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | Scientific paper | High
N-068 | Ozone linearity | ±1 | % | Atmospheric science | 2015–2017 | Atmospheric Chemistry & Physics | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | Scientific paper | High
N-069 | Ozone minimum response time | 10 | s | Atmospheric science | 2015–2017 | Atmospheric Chemistry & Physics | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | Scientific paper | High
N-070 | Ozone response time in auto-response mode | 10–90 | s | Atmospheric science | 2015–2017 | Atmospheric Chemistry & Physics | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | Scientific paper | High
N-071 | Ozone data averaging interval | 5 | min | Atmospheric science | 2015–2017 | Atmospheric Chemistry & Physics | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | Scientific paper | High
N-072 | Ozone inlet height | ~2 | m above ground | Atmospheric science | 2015–2017 | Atmospheric Chemistry & Physics | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | Scientific paper | High
N-073 | Dust filter pore size | 5 | µm PTFE | Atmospheric science | 2015–2017 | Atmospheric Chemistry & Physics | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | Scientific paper | High
N-074 | Ozone calibration points | 20 and 30 | nmol/mol | Atmospheric science | 2015–2017 | Atmospheric Chemistry & Physics | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | Scientific paper | High
N-075 | Ozone measurement uncertainty | ~5 | % | Atmospheric science | 2015–2017 | Atmospheric Chemistry & Physics | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | Scientific paper | High
N-076 | Ozone campaigns at Bharati | 3 | campaign periods | Atmospheric science | 2015–2017 | Atmospheric Chemistry & Physics | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | Scientific paper | High
N-077 | Proton Precession Magnetometer listed at Bharati | 1 instrument type | instrument type | Scientific instruments | IIG inventory | IIG Antarctic/Arctic Cell | https://www.iigm.res.in/antarctic-arctic-cell | Institutional | Medium-High
N-078 | Digital Fluxgate Magnetometer listed at Bharati | 1 instrument type | instrument type | Scientific instruments | IIG inventory | IIG Antarctic/Arctic Cell | https://www.iigm.res.in/antarctic-arctic-cell | Institutional | Medium-High
N-079 | Induction Coil Magnetometer listed at Bharati | 1 instrument type | instrument type | Scientific instruments | IIG inventory | IIG Antarctic/Arctic Cell | https://www.iigm.res.in/antarctic-arctic-cell | Institutional | Medium-High
N-080 | GPS receiver listed at Bharati | 1 instrument type | instrument type | Scientific instruments | IIG inventory | IIG Antarctic/Arctic Cell | https://www.iigm.res.in/antarctic-arctic-cell | Institutional | Medium-High
N-081 | VLF receiver listed at Bharati | 1 instrument type | instrument type | Scientific instruments | IIG inventory | IIG Antarctic/Arctic Cell | https://www.iigm.res.in/antarctic-arctic-cell | Institutional | Medium-High
N-082 | Electric field mill listed at Bharati | 1 instrument type | instrument type | Scientific instruments | IIG inventory | IIG Antarctic/Arctic Cell | https://www.iigm.res.in/antarctic-arctic-cell | Institutional | Medium-High
N-083 | AWS listed at Bharati | 1 instrument type | instrument type | Scientific instruments | IIG inventory | IIG Antarctic/Arctic Cell | https://www.iigm.res.in/antarctic-arctic-cell | Institutional | Medium-High
N-084 | DFM make | DTU (Danish Technical University) | manufacturer | Magnetometer | IIG specification | IIG Digital Fluxgate Magnetometer | https://www.iigm.res.in/ | Institutional | Medium-High
N-085 | DFM model | FGE | model | Magnetometer | IIG specification | IIG Digital Fluxgate Magnetometer | https://www.iigm.res.in/ | Institutional | Medium-High
N-086 | DFM analog output | ±10 | V | Magnetometer | IIG specification | IIG Digital Fluxgate Magnetometer | https://www.iigm.res.in/ | Institutional | High
N-087 | DFM dynamic range | 100–1000 | nT/V | Magnetometer | IIG specification | IIG Digital Fluxgate Magnetometer | https://www.iigm.res.in/ | Institutional | High
N-088 | DFM noise | ~40 | pT | Magnetometer | IIG specification | IIG Digital Fluxgate Magnetometer | https://www.iigm.res.in/ | Institutional | High
N-089 | DFM compensation field | ±64000 | nT | Magnetometer | IIG specification | IIG Digital Fluxgate Magnetometer | https://www.iigm.res.in/ | Institutional | High
N-090 | DFM long-term drift | <3 | nT/year | Magnetometer | IIG specification | IIG Digital Fluxgate Magnetometer | https://www.iigm.res.in/ | Institutional | High
N-091 | DFM sensor temperature coefficient | <0.3 | nT/°C | Magnetometer | IIG specification | IIG Digital Fluxgate Magnetometer | https://www.iigm.res.in/ | Institutional | High
N-092 | DFM electronics temperature coefficient | <0.1 | nT/°C | Magnetometer | IIG specification | IIG Digital Fluxgate Magnetometer | https://www.iigm.res.in/ | Institutional | High
N-093 | DFM power | 12 | VDC; 3 W | power | IIG specification | IIG Digital Fluxgate Magnetometer | https://www.iigm.res.in/ | Institutional | High
N-094 | DFM operating temperature | 0–60 | °C | Magnetometer | IIG specification | IIG Digital Fluxgate Magnetometer | https://www.iigm.res.in/ | Institutional | High
N-095 | ICM model | LEMI-30i | model | Magnetometer | IIG specification | IIG ICM page | https://www.iigm.res.in/ | Institutional | High
N-096 | ICM sensor count in a complete set | 3 | sensors | Magnetometer | IIG specification | IIG ICM page | https://www.iigm.res.in/ | Institutional | Medium
N-097 | GPS data period | 2010–2022 | years | Dataset | research study | IIG GPS/TEC study | https://www.iigm.res.in/ | Scientific paper/institutional | Medium-High
N-098 | VLF stations in simultaneous study | 2 | receivers/stations | Scientific instrument | research study | VLF study (Bharati + Tripura) | https://www.iigm.res.in/ | Scientific paper | High
N-099 | Black carbon wavelengths (AE33) | 370, 470, 520, 590, 660, 880, 950 | nm | Atmospheric instrument | 2019–20 report | NCPOR Annual Report 2019–20 | https://ncpor.res.in/ | Government report | Medium
N-100 | Aerosol scattering wavelengths (IN101) | 450, 532, 632 | nm | Atmospheric instrument | 2019–20 report | NCPOR Annual Report 2019–20 | https://ncpor.res.in/ | Government report | Medium
N-101 | APS aerodynamic particle-size range | 0.5–20 | µm | Atmospheric instrument | 2019–20 report | NCPOR Annual Report 2019–20 | https://ncpor.res.in/ | Government report | Medium
N-102 | AE33 temporal resolution | 1 | min | Atmospheric instrument | 2019–20 report | NCPOR Annual Report 2019–20 | https://ncpor.res.in/ | Government report | Medium
N-103 | IN101 temporal resolution | 1 | min | Atmospheric instrument | 2019–20 report | NCPOR Annual Report 2019–20 | https://ncpor.res.in/ | Government report | Medium
N-104 | APS-3321 temporal resolution | 30 | min | Atmospheric instrument | 2019–20 report | NCPOR Annual Report 2019–20 | https://ncpor.res.in/ | Government report | Medium
N-105 | Historical Bharati winter team | 23 | persons | Personnel | 2015–16 | Scientific paper (35th ISEA) | https://www.researchgate.net/ | Scientific paper | High
N-106 | 42nd ISEA Bharati staff | 24 | scientific + maintenance staff | Personnel | 42nd ISEA | CITU Journals | https://citujournals.in/2023/09/03/women-serving-indias-antarctic-programme/ | Secondary periodical | High
N-107 | 39th ISEA Bharati winter team | 23 | persons | Personnel | 39th ISEA | Scroll report | https://scroll.in/ | News | Medium-High
N-108 | Sea approach window in NCPOR advisory | November–March | season | Logistics | 2016 advisory | NCPOR Bharati advisory | https://ncpor.res.in/files/AL-03%20Planning%20Advisory%20-%20Maitri-2024.docx.pdf | Official advisory | High
N-109 | Cape Town to Bharati sea travel time | 10–16 | days | Logistics | 2016 advisory | NCPOR Bharati advisory | https://ncpor.res.in/files/AL-03%20Planning%20Advisory%20-%20Maitri-2024.docx.pdf | Official advisory | High
N-110 | Current intra-continental flight load between Maitri/Bharati | 1500–1800 | kg | Logistics | 46th ISEA movement plan | NCPOR 46th ISEA air movement plan | https://ncpor.res.in/ | Official logistics notice | High
N-111 | Current individual package maximum | 90 × 72 × 45 | cm | Logistics | 46th ISEA movement plan | NCPOR 46th ISEA air movement plan | https://ncpor.res.in/ | Official logistics notice | High
N-112 | Current individual package maximum weight | 30 | kg | Logistics | 46th ISEA movement plan | NCPOR 46th ISEA movement plan | https://ncpor.res.in/ | Official logistics notice | High
N-113 | Goa–Cape Town sea transit for scientific cargo | 45–60 | days | Logistics | 46th ISEA movement plan | NCPOR 46th ISEA logistics | https://ncpor.res.in/ | Official logistics notice | High
N-114 | COMNAP floor area (conflicting public value) | 2900 | m² | Building | COMNAP catalogue | COMNAP Station Catalogue | https://blog.geographydirections.com/wp-content/uploads/2022/02/fa22c-comnap_antarctic_station_catalogue.pdf | International secondary | Medium-High
N-115 | COMNAP footprint (conflicting public value) | 1650 | m² | Building | COMNAP catalogue | COMNAP Station Catalogue | https://blog.geographydirections.com/wp-content/uploads/2022/02/fa22c-comnap_antarctic_station_catalogue.pdf | International secondary | Medium-High
N-116 | COMNAP structure | 3 | stories | Building | COMNAP catalogue | COMNAP Station Catalogue | https://blog.geographydirections.com/wp-content/uploads/2022/02/fa22c-comnap_antarctic_station_catalogue.pdf | International secondary | Medium-High
N-117 | Secondary station construction cost claim | 450 | crore INR | Cost | secondary source | ResearchGate essay | https://www.researchgate.net/publication/305712728_ESSO-National_Centre_for_Antarctic_and_Ocean_Research | Secondary source | Low-Medium
N-118 | Secondary ECIL/NRSC project contract value claim | 230 | crore INR | Cost | secondary source | WikiZero/Wikipedia-derived secondary | https://kiwix.drnathanhutchins.com/content/wikipedia_en_all_maxi_2026-02/Bharati_%28research_station%29 | Secondary source | Low-Medium
N-119 | Secondary construction duration claim | 124 | days | Building | secondary source | ResearchGate essay | https://www.researchgate.net/publication/305712728_ESSO-National_Centre_for_Antarctic_and_Ocean_Research | Secondary source | Low-Medium

## Equipment
Equipment
Evidence-first repository. No inferred/estimated Bharati values; missing items are explicitly marked.
# | Equipment | Manufacturer | Model | Quantity | Capacity/Rating | Unit/System | Location/System | Year/Status | Source | Confidence
E-001 | Combined Heat & Power unit | MAN | Model not publicly found | 3 | 100 kVA each | CHP / Power | Bharati main station | OMRC 2022 | NCPOR OMRC tender | High
E-002 | RO desalination unit | A3 Water Solution GmbH | Rotec M 300 SW DP | 2 | 300 L/h each | Water treatment | Bharati | Research paper | Bharati RO/water study | High
E-003 | Smoke detector | Not publicly found | Not publicly found | ~230 | Not publicly found | Fire/safety | Bharati building | Tender clarification | NCPOR Pre-Bid Clarification | High
E-004 | Security camera | Not publicly found | Not publicly found | 15 | Not publicly found | CCTV | Bharati building | Tender clarification | NCPOR Pre-Bid Clarification | High
E-005 | Loudspeaker | Not publicly found | Not publicly found | 100 | PA system | Communication | Bharati building | Tender clarification | NCPOR Pre-Bid Clarification | High
E-006 | Building-management workstation | Not publicly found | Not publicly found | 2 | Mobile workstations | Building automation | Inside Bharati | Tender clarification | NCPOR Pre-Bid Clarification | High
E-007 | Remote building-management workstation | Not publicly found | Not publicly found | 1 | Remote workstation | Building automation | Goa | Tender clarification | NCPOR Pre-Bid Clarification | High
E-008 | Switchgear cabinet | Not publicly found | Not publicly found | 14 | Not publicly found | Power distribution | Bharati | Tender clarification | NCPOR Pre-Bid Clarification | High
E-009 | Field device (sensor/actuator) | Not publicly found | Not publicly found | ~180 | Includes heating valves / pressure sensing devices | Building automation | Bharati | Tender clarification | NCPOR Pre-Bid Clarification | High
E-010 | IP-EPABX control unit | Not publicly found | Not publicly found | 1 | 24 analog lines/users; 10 IP licenses | Telephony | Bharati control unit | Tender | NCAOR Revised IP-EPABX Tender | Medium-High
E-011 | Proton Precession Magnetometer | Not publicly found | Not publicly found | NOT PUBLICLY AVAILABLE | Not publicly found | Geomagnetism | Bharati | IIG inventory | IIG Antarctic/Arctic Cell | Medium-High
E-012 | Digital Fluxgate Magnetometer | DTU | FGE | NOT PUBLICLY AVAILABLE | ±10 V output; 100–1000 nT/V; ~40 pT noise; ±64000 nT compensation | Geomagnetism | Bharati-listed system | IIG specification | IIG Digital Fluxgate Magnetometer | High
E-013 | Induction Coil Magnetometer | Lviv Centre of Institute of Space Research, Ukraine | LEMI-30i | NOT PUBLICLY AVAILABLE at Bharati | Complete set described as 3 sensors + CAM unit + accessories, but Bharati-specific quantity not established | Geomagnetism | Bharati-listed system | IIG specification | IIG ICM page | Medium
E-014 | Dual-frequency GPS receiver | Not publicly found | Not publicly found | NOT PUBLICLY AVAILABLE | Long-term TEC data associated with Bharati | GNSS/ionosphere | Bharati | IIG study | IIG GPS/TEC study | Medium-High
E-015 | VLF receiver | Not publicly found | Not publicly found | 1 study receiver at Bharati | Non-functional / replacement noted in IIG inventory | Radio science | Bharati | IIG inventory/paper | IIG Antarctic/Arctic Cell | Medium
E-016 | Electric field mill | Not publicly found | Not publicly found | 1 instrument type | For GEC measurements; exact Bharati quantity not independently verified | Atmospheric electricity | Bharati | IIG inventory | IIG Antarctic/Arctic Cell | Medium
E-017 | Automatic Weather Station | Not publicly found | Not publicly found | NOT PUBLICLY AVAILABLE | Exact current make/model not publicly found | Meteorology | Bharati | NCPOR data portal/IIG inventory | NCPOR/IIG | Medium
E-018 | Online UV photometric ozone analyser | Environnement S.A., France | O342 | 1 documented measurement setup | 253.7 nm absorption; 5-min averaged data | Surface ozone | Bharati | 2015–2017 campaigns | ACP 2024 paper | High
E-019 | Aethalometer | Not publicly found | AE33 | NOT PUBLICLY AVAILABLE at Bharati; shared polar-program evidence | 7 wavelengths 370–950 nm; 1-min resolution in report | Black carbon | Bharati context; station-specific installation not itemized | NCPOR 2019–20 annual report | NCPOR Annual Report 2019–20 | Medium
E-020 | Aerosol nephelometer | Air Photon | IN101 | NOT PUBLICLY AVAILABLE at Bharati; shared polar-program evidence | 450/532/632 nm; 1-min resolution in report | Aerosol scattering | Bharati context; station-specific installation not itemized | NCPOR 2019–20 annual report | NCPOR Annual Report 2019–20 | Medium
E-021 | Aerodynamic Particle Sizer | Not publicly found | APS-3321 | NOT PUBLICLY AVAILABLE at Bharati; shared polar-program evidence | 0.5–20 µm; 30-min resolution in report | Aerosol size | Bharati context; station-specific installation not itemized | NCPOR 2019–20 annual report | NCPOR Annual Report 2019–20 | Medium
E-022 | Portable X-ray machine | Not publicly found | Not publicly found | 2 for Maitri & Bharati procurement | ≥30 kW; 40–130 kV; ≥300 mA; 14×14 in panel; ≥100 battery exposures | Medical imaging | Antarctic programme; station allocation not verified | Tender NCAOR/AES-11370/PT-26 | NCAOR portable X-ray tender | Medium
E-023 | Portable ECG machine | Not publicly found | Not publicly found | 2 in 2017 programme procurement | Detailed model/spec not found; Bharati allocation not verified | Medical | Antarctic programme | NCAOR/AES-11497/PT-32 | NCAOR tender archive | Medium-Low
E-024 | Portable OT light | Not publicly found | Not publicly found | 2 in 2017 programme procurement | Detailed model/spec not found; Bharati allocation not verified | Medical | Antarctic programme | NCAOR/AES-11497/PT-32 | NCAOR tender archive | Medium-Low
E-025 | PistenBully | Kässbohrer | Exact model not publicly found in accessible record | NOT PUBLICLY AVAILABLE | Spare parts procurement specifically for Bharati | Vehicle / snow machinery | Bharati | LHE-20124 | NCAOR Bharati PistenBully spares tender | High

## Capacity
Capacity
Evidence-first repository. No inferred/estimated Bharati values; missing items are explicitly marked.
# | System/Item | Capacity | Unit | Quantity/Context | Year/Date | Source | URL | Confidence
C-001 | Main-building personnel capacity | 47 | persons | 1 stated main building | Current | NCPOR | https://npdc.ncpor.res.in/npdc/research-stations.action | High
C-002 | Summer emergency/shelter additional capacity | 25 | persons | Additional | Current | NCPOR | https://npdc.ncpor.res.in/npdc/research-stations.action | High
C-003 | Total station capacity | 72 | persons | Station-wide stated capacity | Current | NCPOR | https://npdc.ncpor.res.in/npdc/research-stations.action | High
C-004 | Fuel farm | ~300000 | L | Station fuel farm | Current | NCPOR | https://ncpor.res.in/pages/display/369-significant-achievements- | High
C-005 | Fuel farm | ~300 | kL | Station fuel farm | Tender clarification | NCPOR Pre-Bid | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | High
C-006 | Individual fuel tank | ~24 | kL/tank | 13 tanks documented | Tender clarification | NCPOR Pre-Bid | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | High
C-007 | CHP unit rating | 100 | kVA/unit | 3 units | Current/OMRC | NCPOR | https://ncpor.res.in/pages/display/369-significant-achievements- | High
C-008 | RO potable-water production | 300 | L/h/unit | 2 units | Research paper | Bharati water study | https://www.researchgate.net/ | High
C-009 | RO plant | 2 × 300 | L/h configuration | 2 units | Research paper | Bharati water study | https://www.researchgate.net/ | High
C-010 | IP-EPABX analog capacity | 24 | users/lines | 1 control unit specification | Tender | NCAOR | https://www.ncpor.res.in/files/Revised-IP-EPABX-tender_1.pdf | Medium-High
C-011 | IP-EPABX IP licenses | 10 | licenses | 1 control unit specification | Tender | NCAOR | https://www.ncpor.res.in/files/Revised-IP-EPABX-tender_1.pdf | Medium-High
C-012 | Medical inpatient capacity (historical) | 2 | beds | Historical 2-room medical centre | 2012–13 | U.S. State Dept | https://2009-2017.state.gov/documents/organization/210000.pdf | Medium-High
C-013 | X-ray generator required output | ≥30 | kW | 2-machine programme tender | Tender | NCAOR | https://www.ncaor.gov.in/upload/tenders/AES-11370.PDF | Medium
C-014 | X-ray tube range | 40–130 | kV or more | 2-machine programme tender | Tender | NCAOR | https://www.ncaor.gov.in/upload/tenders/AES-11370.PDF | Medium
C-015 | X-ray max current | ≥300 | mA | 2-machine programme tender | Tender | NCAOR | https://www.ncaor.gov.in/upload/tenders/AES-11370.PDF | Medium
C-016 | X-ray shortest exposure | ≤1 | ms | 2-machine programme tender | Tender | NCAOR | https://www.ncaor.gov.in/upload/tenders/AES-11370.PDF | Medium
C-017 | X-ray detector panel | 14 × 14 | in | 2-machine programme tender | Tender | NCAOR | https://www.ncaor.gov.in/upload/tenders/AES-11370.PDF | Medium
C-018 | X-ray panel matrix | ≥2K × 2K | pixels | 2-machine programme tender | Tender | NCAOR | https://www.ncaor.gov.in/upload/tenders/AES-11370.PDF | Medium
C-019 | X-ray DQE | ≥65 | % | 2-machine programme tender | Tender | NCAOR | https://www.ncaor.gov.in/upload/tenders/AES-11370.PDF | Medium
C-020 | X-ray view time | ≤10 | s | 2-machine programme tender | Tender | NCAOR | https://www.ncaor.gov.in/upload/tenders/AES-11370.PDF | Medium
C-021 | X-ray battery exposure capacity | ≥100 | exposures | 2-machine programme tender | Tender | NCAOR | https://www.ncaor.gov.in/upload/tenders/AES-11370.PDF | Medium
C-022 | X-ray recharge time | <6 | h | 2-machine programme tender | Tender | NCAOR | https://www.ncaor.gov.in/upload/tenders/AES-11370.PDF | Medium

## Sensors
Sensors
Evidence-first repository. No inferred/estimated Bharati values; missing items are explicitly marked.
# | Sensor | Parameter | Manufacturer | Model | Quantity | Range | Accuracy/Noise | Sampling/Interval | Communication/Power | Location | Source | URL | Confidence
S-001 | Smoke detector | Smoke | Not publicly found | Not publicly found | ~230 | Not publicly found | Not publicly found | Not publicly found | Building automation / fire system | Bharati | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | High
S-002 | Flame detector | Flame | Not publicly found | Not publicly found | NOT PUBLICLY AVAILABLE | Not publicly found | Not publicly found | Not publicly found | Fire-fighting system | CHP rooms/kitchen/fuel tank room | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Medium-High
S-003 | Fuel level indicator | Fuel level | Not publicly found | Not publicly found | 13 tank systems documented | Not publicly found | Not publicly found | Not publicly found | Fuel farm | Bharati fuel farm | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | High
S-004 | Fuel overfill protection | Tank overfill | Not publicly found | Not publicly found | 13 tank systems documented | Not publicly found | Not publicly found | Not publicly found | Fuel farm | Bharati fuel farm | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | High
S-005 | Fuel leak detector | Leak | Not publicly found | Not publicly found | Tank + pipeline leak detection documented | Not publicly found | Not publicly found | Not publicly found | Fuel farm | Bharati fuel farm / 400m pipeline | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | High
S-006 | Pressure/vacuum relief valve | Pressure/vacuum | Not publicly found | Not publicly found | 13 tank systems documented | Not publicly found | Not publicly found | Not publicly found | Fuel farm | Bharati fuel farm | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | High
S-007 | Heating valve field device | Heating control | Not publicly found | Not publicly found | Included in ~180 field devices | Not publicly found | Not publicly found | Not publicly found | Building automation | Bharati | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Medium-High
S-008 | Pressure-sensing field device | Pressure | Not publicly found | Not publicly found | Included in ~180 field devices | Not publicly found | Not publicly found | Not publicly found | Building automation | Bharati | NCPOR Pre-Bid Clarification | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | Medium-High
S-009 | Digital Fluxgate Magnetometer sensor | Geomagnetic field | DTU | FGE | 3 axes (instrument design); Bharati quantity NOT PUBLICLY AVAILABLE | dynamic 100–1000 nT/V | ~40 pT noise | Not publicly found | Analog ±10V; 12 VDC / 3W | Bharati-listed IIG site | IIG DFM specification | https://www.iigm.res.in/ | High
S-010 | Induction Coil Magnetometer sensor | Geomagnetic induction | LEMI / Lviv Centre | LEMI-30i | Bharati-specific quantity NOT PUBLICLY AVAILABLE; a complete set is described as 3 sensors | Not publicly found | Not publicly found | Not publicly found | CAM unit + cables/GPS antenna/software | Bharati-listed IIG site | IIG ICM specification | https://www.iigm.res.in/ | Medium
S-011 | GPS receiver | GNSS/TEC | Not publicly found | Not publicly found | NOT PUBLICLY AVAILABLE | Not publicly found | Not publicly found | Study data 2010–2022 | Not publicly found | Bharati | IIG GPS study | https://www.iigm.res.in/ | Medium-High
S-012 | VLF receiver | VLF electric field | Not publicly found | Not publicly found | 1 receiver explicitly reported in Bharati+Tripura simultaneous study | Not publicly found | Not publicly found | GPS-synchronised study | VLF receiver | Bharati | IIG VLF study | https://www.iigm.res.in/ | High
S-013 | Electric field mill | Atmospheric electric field/GEC | Not publicly found | Not publicly found | Bharati-listed; exact count NOT PUBLICLY AVAILABLE | Not publicly found | Not publicly found | Not publicly found | GEC | Bharati | IIG Antarctic/Arctic Cell | https://www.iigm.res.in/ | Medium
S-014 | AWS temperature sensor | Temperature | Not publicly found | Not publicly found | NOT PUBLICLY AVAILABLE | Not publicly found | Not publicly found | Dataset interval varies; portal lists AWS datasets | Data logger/portal | Bharati | NCPOR Bharati data portal | https://data.ncpor.res.in/newhtml/ | Medium
S-015 | AWS relative humidity sensor | Relative humidity | Not publicly found | Not publicly found | NOT PUBLICLY AVAILABLE | Not publicly found | Not publicly found | Dataset interval varies | Data logger/portal | Bharati | NCPOR Bharati data portal / IIG | https://data.ncpor.res.in/newhtml/ | Medium
S-016 | AWS pressure sensor | Pressure | Not publicly found | Not publicly found | NOT PUBLICLY AVAILABLE | Not publicly found | Not publicly found | Dataset interval varies | Data logger/portal | Bharati | NCPOR Bharati data portal / IIG | https://data.ncpor.res.in/newhtml/ | Medium
S-017 | AWS wind-speed sensor | Wind speed | Not publicly found | Not publicly found | NOT PUBLICLY AVAILABLE | Not publicly found | Not publicly found | Dataset interval varies | Data logger/portal | Bharati | NCPOR Bharati data portal / IIG | https://data.ncpor.res.in/newhtml/ | Medium
S-018 | Ozone analyser | Surface O3 | Environnement S.A. France | O342 | 1 documented setup | 1 nmol/mol LOD; ±1% linearity | 0.5 nmol/mol noise; ~5% uncertainty | 5-min average | UV photometric 253.7 nm | Bharati | ACP 2024 paper | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | High

## Personnel
Personnel
Evidence-first repository. No inferred/estimated Bharati values; missing items are explicitly marked.
# | Designation/Group | Number | Summer/Winter | Year/Expedition | Source | URL | Confidence | Notes
P-001 | Station personnel capacity | 47 | Summer + winter | Current/official | NCPOR | https://npdc.ncpor.res.in/npdc/research-stations.action | High | Capacity, not a designation count
P-002 | Additional summer emergency/shelter capacity | 25 | Summer | Current/official | NCPOR | https://npdc.ncpor.res.in/npdc/research-stations.action | High | Capacity, not a designation count
P-003 | Historical winter team | 23 | Winter / 35th ISEA | 2015–16 | Scientific paper | https://www.researchgate.net/ | High | Bharati wintering team
P-004 | Historical winter team | 23 | Winter / 39th ISEA | 39th ISEA | Scroll | https://scroll.in/ | Medium-High | Bharati wintering team
P-005 | Scientific + maintenance staff | 24 | Year-round / winter period | 42nd ISEA | CITU Journals | https://citujournals.in/2023/09/03/women-serving-indias-antarctic-programme/ | High | Medical officer catered to 24 staff
P-006 | Medical officer | 1 | This is a role count, not full medical staffing | 42nd ISEA | CITU Journals | https://citujournals.in/2023/09/03/women-serving-indias-antarctic-programme/ | High | One medical officer described
P-007 | Designation-wise engineers | NOT PUBLICLY AVAILABLE | Summer/winter | N/A | Public sources reviewed | N/A | High | No Bharati-specific designation count found
P-008 | Designation-wise technicians | NOT PUBLICLY AVAILABLE | Summer/winter | N/A | Public sources reviewed | N/A | High | No Bharati-specific designation count found
P-009 | Designation-wise electricians | NOT PUBLICLY AVAILABLE | Summer/winter | N/A | Public sources reviewed | N/A | High | No Bharati-specific designation count found
P-010 | Designation-wise mechanics | NOT PUBLICLY AVAILABLE | Summer/winter | N/A | Public sources reviewed | N/A | High | No Bharati-specific designation count found
P-011 | Designation-wise plumbers | NOT PUBLICLY AVAILABLE | Summer/winter | N/A | Public sources reviewed | N/A | High | No Bharati-specific designation count found
P-012 | Designation-wise cooks | NOT PUBLICLY AVAILABLE | Summer/winter | N/A | Public sources reviewed | N/A | High | No Bharati-specific designation count found
P-013 | Designation-wise housekeeping/support | NOT PUBLICLY AVAILABLE | Summer/winter | N/A | Public sources reviewed | N/A | High | No Bharati-specific designation count found
P-014 | Designation-wise logistics personnel | NOT PUBLICLY AVAILABLE | Summer/winter | N/A | Public sources reviewed | N/A | High | No Bharati-specific designation count found
P-015 | Designation-wise IT/network staff | NOT PUBLICLY AVAILABLE | Summer/winter | N/A | Public sources reviewed | N/A | High | No Bharati-specific designation count found
P-016 | Designation-wise communication staff | NOT PUBLICLY AVAILABLE | Summer/winter | N/A | Public sources reviewed | N/A | High | No Bharati-specific designation count found
P-017 | Designation-wise security staff | NOT PUBLICLY AVAILABLE | Summer/winter | N/A | Public sources reviewed | N/A | High | No Bharati-specific designation count found

## Datasets
Datasets
Evidence-first repository. No inferred/estimated Bharati values; missing items are explicitly marked.
# | Dataset | Variables / Type | Date Range | Access / Format | Organization/Portal | URL | Access Status | Reliability
D-001 | Bharati AWS, IIG | Temperature/RH/pressure/wind-speed etc. raw AWS data | 28/02/2012–31/12/2016 | Raw downloadable data | NCPOR Data Portal | https://data.ncpor.res.in/newhtml/ | Downloadable | Official portal
D-002 | Bharati AWS, IMD | AWS weather dataset | 06/02/2015–13/11/2016 | Raw downloadable data | NCPOR Data Portal | https://data.ncpor.res.in/newhtml/ | Downloadable | Official portal
D-003 | Bharati AWS, IIG | AWS | 01/01/2017–06/08/2024 | Raw; request access | NCPOR Data Portal | https://data.ncpor.res.in/newhtml/ | Request | Official portal
D-004 | Bharati DCWIS, IMD | Digital Current Weather Instrument System | 01/01/2015–06/08/2024 | Raw; request access | NCPOR Data Portal | https://data.ncpor.res.in/newhtml/ | Request | Official portal
D-005 | Bharati GEC, IIG | Geoelectric/air-earth current related data | 01/01/2013–30/11/2021 | Raw; request access | NCPOR Data Portal | https://data.ncpor.res.in/newhtml/ | Request | Official portal
D-006 | Bharati Surface Data, IMD | Surface meteorological data | 31/12/2018–30/11/2022 | Raw downloadable data | NCPOR Data Portal | https://data.ncpor.res.in/newhtml/ | Downloadable | Official portal
D-007 | Bharati Synoptic Data, IMD | Synoptic weather data | 05/01/2016–06/08/2024 | Raw; request access | NCPOR Data Portal | https://data.ncpor.res.in/newhtml/ | Request | Official portal
D-008 | Bharati DFM, IIG | Digital Fluxgate Magnetometer | 04/02/2013–31/12/2016 | Raw; request access | NCPOR Data Portal | https://data.ncpor.res.in/newhtml/ | Request | Official portal
D-009 | Bharati ICM, IIG | Induction Coil Magnetometer | 01/01/2016–31/12/2023 | Raw; request access | NCPOR Data Portal | https://data.ncpor.res.in/newhtml/ | Request | Official portal
D-010 | Bharati GPS/TEC | Dual-frequency GPS / TEC observations | 2010–2022 | Scientific study; data access details vary | IIG / scientific papers | https://www.iigm.res.in/ | Scientific data | Medium-High

## Resources
Resources
Evidence-first repository. No inferred/estimated Bharati values; missing items are explicitly marked.
# | Resource | Direct URL | Organization/Author | Year/Date | Type | Bharati Topic | Numerical Data? | Technical Specs? | Reliability
R-001 | NCPOR Bharati research station profile | https://npdc.ncpor.res.in/npdc/research-stations.action | NCPOR | Current | Government webpage | Capacity; facilities; coordinates | Yes | Yes | Primary/high
R-002 | NCPOR Significant Achievements | https://ncpor.res.in/pages/display/369-significant-achievements- | NCPOR | Current page | Government webpage | Building dimensions; 2162 m²; 127 days; 3×100 kVA CHP; ~3 lakh L fuel; earth station | Yes | Yes | Primary/high
R-003 | NCPOR OMRC tender | https://ncpor.res.in/upload/tenders/OMRC_Tender_Document_20220113%20%281%29.PDF | NCPOR | 2022 | Tender/PDF | CHP make/hours/service; water-treatment maintenance; future generator plan | Yes | Yes | Primary/high
R-004 | NCPOR Pre-Bid Clarifications 2 | https://ncpor.res.in/upload/tenders/Pre-Bid_Clarifications_2.PDF | NCPOR | Tender record | Procurement clarification/PDF | Sensors, cameras, fire system, automation, fuel tanks/pipeline, wiring | Yes | Yes | Primary/high
R-005 | Revised IP-EPABX tender | https://www.ncpor.res.in/files/Revised-IP-EPABX-tender_1.pdf | NCAOR | Tender record | Telephony procurement | Yes | Yes | Primary/high
R-006 | NCPOR Bharati planning advisory | https://ncpor.res.in/files/AL-03%20Planning%20Advisory%20-%20Maitri-2024.docx.pdf | NCPOR | 2016 advisory | Government advisory/PDF | Coordinates, 47+25 capacity, sea access 10–16 days | Yes | Yes | Primary/high
R-007 | NCPOR data portal | https://data.ncpor.res.in/newhtml/ | NCPOR | Current | Dataset portal | Bharati AWS, DFM, ICM, GEC, weather datasets | Yes | Yes | Primary/high
R-008 | COMNAP station catalogue | https://blog.geographydirections.com/wp-content/uploads/2022/02/fa22c-comnap_antarctic_station_catalogue.pdf | COMNAP | Catalogue | International secondary | 2900 m²; 1650 m² footprint; 3 stories; coords | Yes | Yes | Secondary
R-009 | ACP 2024 Bharati ozone paper | https://acp.copernicus.org/articles/24/1979/2024/acp-24-1979-2024.html | ACP journal | 2024 | Scientific paper | O342 model/specs; campaigns; measurement settings | Yes | Yes | Primary research
R-010 | Bharati wastewater performance study | https://www.sciencedirect.com/ | ScienceDirect journal article | 2024/25 | Scientific paper | RO; greywater system; monitoring; lab measurement methods | Yes | Yes | Primary research
R-011 | IIG Antarctic/Arctic Cell | https://www.iigm.res.in/antarctic-arctic-cell | IIG | Current | Institutional inventory | Bharati instrument types; LEMI-30i; DFM FGE | Yes | Yes | Institutional/primary
R-012 | IIG DFM specification | https://www.iigm.res.in/ | IIG | Current | Instrument specification | FGE model and electrical/performance specs | Yes | Yes | Institutional/primary
R-013 | IIG ICM specification | https://www.iigm.res.in/ | IIG | Current | Instrument specification | LEMI-30i; complete-set configuration | Yes | Yes | Institutional/primary
R-014 | U.S. State Dept Antarctica medical inspection | https://2009-2017.state.gov/documents/organization/210000.pdf | U.S. State Dept | 2012–13 | Government inspection/PDF | 2-room medical centre; 2 inpatient beds; oxygen/nitrous oxide; X-ray/dental/anesthetic arrival status | Yes | Yes | Government secondary
R-015 | CITU Women Serving India’s Antarctic Programme | https://citujournals.in/2023/09/03/women-serving-indias-antarctic-programme/ | CITU Journals | 2023 | Secondary periodical | 24 Bharati scientific/maintenance staff; doctor role; three-storey description | Yes | Some | Secondary
R-016 | NCAOR portable X-ray tender | https://www.ncaor.gov.in/upload/tenders/AES-11370.PDF | NCAOR | 2015 | Tender/PDF | 2 portable X-ray procurement; detailed specs | Yes | Yes | Primary procurement
R-017 | NCAOR tender archive | https://www.ncpor.res.in/pages/display/508-tenders | NCAOR/NCPOR | Historical/current | Procurement archive | PistenBully spares; medical; generators; lab/weather procurements | Yes | Yes | Primary procurement archive
R-018 | NCAOR PistenBully spares for Bharati | https://www.ncaor.gov.in/ | NCAOR | Historical tender | Tender | Bharati-specific PistenBully spare part quantities | Yes | Yes | Primary procurement
R-019 | MoES Bharati LinkedIn post/transcript | https://www.linkedin.com/posts/ministry-earth-sciences_onemonthoneresearchstation-activity-7435650544368750594-naA- | MoES | 2026 | Government social media | 24 single-occupancy rooms; max 47 double occupancy | Yes | Yes | Government social media
R-020 | ResearchGate ESSO/NCAOR essay | https://www.researchgate.net/publication/305712728_ESSO-National_Centre_for_Antarctic_and_Ocean_Research | Secondary | Undated | Secondary technical essay | 216? / 2200 m², 124 days, ₹450 crore claims | Yes | Some | Secondary; conflicts official
R-021 | Wikipedia-derived station page | https://kiwix.drnathanhutchins.com/content/wikipedia_en_all_maxi_2026-02/Bharati_%28research_station%29 | Secondary | 2026 snapshot | Secondary web | ₹230 crore ECIL/NRSC claim; 2162 m²; satellite/AGEOS context | Yes | Some | Secondary; primary not located

## Unavailable
Unavailable
Evidence-first repository. No inferred/estimated Bharati values; missing items are explicitly marked.
# | Requested Data Item | Status | Evidence / reason | Category
U-001 | Total annual fuel consumption | NOT PUBLICLY AVAILABLE | No Bharati-specific public annual figure located | Fuel
U-002 | Daily/monthly fuel consumption | NOT PUBLICLY AVAILABLE | No Bharati-specific public daily/monthly figure located | Fuel
U-003 | Fuel reserve duration | NOT PUBLICLY AVAILABLE | No documented reserve-days figure located | Fuel
U-004 | Fuel transfer pump flow rate | NOT PUBLICLY AVAILABLE | No Bharati-specific public pump model/flow rate located | Fuel
U-005 | Freshwater tank total capacity | NOT PUBLICLY AVAILABLE | RO production is documented; storage tank capacity not publicly found | Water
U-006 | Wastewater storage capacity | NOT PUBLICLY AVAILABLE | Treatment described, storage capacity not publicly found | Water
U-007 | Wastewater treatment throughput | NOT PUBLICLY AVAILABLE | Process stages and monitoring found; plant throughput not located | Water
U-008 | Generator kW rating | NOT PUBLICLY AVAILABLE | CHP kVA is documented; explicit kW rating not located | Power
U-009 | Electrical distribution voltage | NOT PUBLICLY AVAILABLE | Bharati-specific public figure not located | Power
U-010 | Grid frequency | NOT PUBLICLY AVAILABLE | Bharati-specific public figure not located | Power
U-011 | UPS capacity | NOT PUBLICLY AVAILABLE | No Bharati-specific model/capacity located | Power/IT
U-012 | Battery capacity | NOT PUBLICLY AVAILABLE | No Bharati-specific battery bank model/capacity located | Power
U-013 | Transformer rating/count | NOT PUBLICLY AVAILABLE | No Bharati-specific public transformer inventory located | Power
U-014 | Peak electrical load | NOT PUBLICLY AVAILABLE | No Bharati-specific public load figure located | Power
U-015 | Average daily electricity use | NOT PUBLICLY AVAILABLE | No Bharati-specific public consumption figure located | Power
U-016 | HVAC unit count/model/capacity | NOT PUBLICLY AVAILABLE | Automated heating and AC are documented; unit inventory not located | HVAC
U-017 | Room count beyond 24 single-occupancy rooms | NOT PUBLICLY AVAILABLE | Only 24 single-occupancy rooms found in MoES social post; other room counts not verified | Building
U-018 | Laboratory count | NOT PUBLICLY AVAILABLE | Lab space is documented; exact lab count not located | Building
U-019 | Bathroom/toilet count | NOT PUBLICLY AVAILABLE | Flush toilets documented; exact count not located | Building
U-020 | Dining capacity | NOT PUBLICLY AVAILABLE | Dining space documented; numeric seating/capacity not found | Accommodation
U-021 | Emergency sleeping beds | NOT PUBLICLY AVAILABLE | 25 additional summer/emergency capacity documented, but bed count not located | Accommodation
U-022 | Oxygen cylinder count/capacity | NOT PUBLICLY AVAILABLE | Historical inspection confirms oxygen available, exact cylinders/capacity not found | Medical
U-023 | Ventilator count/model | NOT PUBLICLY AVAILABLE | No Bharati-specific public ventilator inventory located | Medical
U-024 | Defibrillator count/model | NOT PUBLICLY AVAILABLE | No Bharati-specific public inventory located | Medical
U-025 | ECG installed quantity at Bharati | NOT PUBLICLY AVAILABLE | 2 procured for Antarctic programme in 2017, station allocation not verified | Medical
U-026 | CCTV resolution/NVR storage | NOT PUBLICLY AVAILABLE | 15 cameras documented, technical recording specs not located | CCTV
U-027 | Satellite comm bandwidth/data rate | NOT PUBLICLY AVAILABLE | Dedicated satellite voice/video/data channels documented; Bharati-specific rate not located | Communication
U-028 | Satellite terminal/modem model | NOT PUBLICLY AVAILABLE | No Bharati-specific model located | Communication
U-029 | Antenna count/diameter/gain | NOT PUBLICLY AVAILABLE | No verified Bharati antenna inventory located | Communication
U-030 | Server count/models/storage | NOT PUBLICLY AVAILABLE | No Bharati-specific server inventory located | IT
U-031 | Router/switch/firewall models | NOT PUBLICLY AVAILABLE | Network sockets/cabling documented; active-network hardware inventory not located | IT
U-032 | Data-storage capacity onsite | NOT PUBLICLY AVAILABLE | No Bharati-specific onsite storage figure located | IT
U-033 | Vehicle total count | NOT PUBLICLY AVAILABLE | PistenBully existence/spares documented, but total fleet count not located | Vehicles
U-034 | Snowmobile count/model | NOT PUBLICLY AVAILABLE | No Bharati-specific public inventory located | Vehicles
U-035 | Crane/forklift/loader counts | NOT PUBLICLY AVAILABLE | No Bharati-specific public inventory located | Machinery
U-036 | Medical evacuation aircraft capacity | NOT PUBLICLY AVAILABLE | Emergency evacuation capability discussed historically, numeric patient/aircraft capacity not found | Logistics/Medical
U-037 | Fire extinguisher count/type/capacity | NOT PUBLICLY AVAILABLE | CO2 and foam extinguishers mentioned, exact count/capacity not found | Fire/Safety
U-038 | Emergency power/UPS autonomy | NOT PUBLICLY AVAILABLE | No numeric Bharati-specific autonomy figure located | Emergency
U-039 | Food storage capacity | NOT PUBLICLY AVAILABLE | Cold storage is documented; exact capacity not located | Storage
U-040 | Freezer/refrigerator count/capacity | NOT PUBLICLY AVAILABLE | Cold storage documented; exact inventory not located | Storage
U-041 | Scientific sample storage capacity | NOT PUBLICLY AVAILABLE | No numeric Bharati-specific figure located | Storage
U-042 | Waste storage capacity | NOT PUBLICLY AVAILABLE | No numeric Bharati-specific figure located | Waste

## Conflicts
Conflicts
Evidence-first repository. No inferred/estimated Bharati values; missing items are explicitly marked.
# | Parameter | Source A value | Source B value | Sources | Resolution / handling | Confidence
X-001 | Main building floor area | 2162 m² | 2900 m² | NCPOR official Significant Achievements vs COMNAP catalogue | Do not reconcile/calculating from footprint; show both public values. | High vs Medium-High
X-002 | Construction duration | 127 days | 124 days | NCPOR official vs secondary ResearchGate essay | Use 127 days as primary-source value; retain 124 as secondary conflict. | High vs Low-Medium
X-003 | Fuel farm capacity | ~300 kL / ~300000 L | 13 tanks × ~24 kL stated | NCPOR official + pre-bid clarification | Document both without calculating/reconciling because user forbids inferred totals; tank declaration is individually useful. | High
X-004 | Construction/project cost | ₹230 crore contract claim | ₹450 crore station cost claim | Wikipedia-derived secondary vs ResearchGate secondary | Neither claim located in a primary source during this pass; do not use as authoritative station cost. | Low-Medium
X-005 | Accommodation room count | 24 single-occupancy rooms; max 47 double occupancy | 47 main-building capacity stated without room count | MoES 2026 post vs NCPOR station profile | Both can be retained; exact room-to-bed allocation not inferred. | Medium-High vs High
X-006 | Aerosol instrument assignment | AE33 / IN101 / APS-3321 described for polar stations | Exact Bharati station allocation not itemized in accessible excerpt | NCPOR Annual Report | Retain as shared-program evidence only, not confirmed installed Bharati inventory. | Medium